## Cover
Jeyavishnu Wastewater Recycle & Reuse Project, Tirupur
UWR RoU Scope: 5 Monitoring Period: 01/01/2014-31/12/2024 Crediting Period: 2014-2024 UNDP Human Development Indicator:0.644(India) Uncertainty factor : 0.98 RoUs Generated During 1st Monitoring Period: 01/01/2014-31/12/2024

## RoUs
JEYAVISHNU CLOTHING PRIVATE LTD
DAILY FLOW DETAILS FROM YEAR ( 2014 TO 2024 )
SL NO | MONTH & YEAR | INLET FLOW M3/DAY | OUTLET ETP FLOW M3/DAY | TREATED WATER M3/DAY | RoUs | Year wise
1 | 2014-01-01 | 11510 | 13069 | 13177.83 | 12914.2734 | 202449.6965
2 | 2014-02-01 | 13510 | 13105.2 | 13086.318 | 12824.5916 |  | According to the RoU Standard, PP has accounted 1% each as the uncertainty factor in inflow and outflow volumes to be conservative. Hence an uncertainity factor of 0.98 is applied to all ROUs.
3 | 2014-03-01 | 14371 | 13105 | 14532 | 14241.36
4 | 2014-04-01 | 15213 | 14635 | 15569 | 15257.62
5 | 2014-05-01 | 15918 | 16298 | 16620 | 16287.6
6 | 2014-06-01 | 14271 | 14305 | 14417 | 14128.66
7 | 2014-07-01 | 14191 | 14136 | 19727 | 19332.46
8 | 2014-08-01 | 11841 | 11168 | 11105 | 10882.9
9 | 2014-09-01 | 21211 | 18921 | 18988 | 18608.24
10 | 2014-10-01 | 20255 | 20070 | 20962 | 20542.76
11 | 2014-11-01 | 23512.77 | 22526 | 23845.175 | 23368.2715
12 | 2014-12-01 | 26262 | 24776 | 24552 | 24060.96
13 | 2015-01-01 | 18838 | 18131 | 18133 | 17770.34 | 276828.44
14 | 2015-02-01 | 16010 | 14973 | 14901 | 14602.98
15 | 2015-03-01 | 21224 | 21576 | 21263 | 20837.74
16 | 2015-04-01 | 23259 | 23760 | 23245 | 22780.1
17 | 2015-05-01 | 25345 | 25203 | 23968 | 23488.64
18 | 2015-06-01 | 25031 | 24680 | 24390 | 23902.2
19 | 2015-07-01 | 26469 | 26867 | 25888 | 25370.24
20 | 2015-08-01 | 25851 | 25635 | 24957 | 24457.86
21 | 2015-09-01 | 26537 | 27471 | 26754 | 26218.92
22 | 2015-10-01 | 29146 | 31451 | 29823 | 29226.54
23 | 2015-11-01 | 20832 | 22260 | 20663 | 20249.74
24 | 2015-12-01 | 28204 | 29999 | 28493 | 27923.14
25 | 2016-01-01 | 22015 | 24007 | 22839 | 22382.22 | 301964.46
26 | 2016-02-01 | 28537 | 26779 | 27731 | 27176.38
27 | 2016-03-01 | 31183 | 29648 | 29043 | 28462.14
28 | 2016-04-01 | 25946 | 23892 | 24717 | 24222.66
29 | 2016-05-01 | 28019 | 26436 | 26108 | 25585.84
30 | 2016-06-01 | 29062 | 28050 | 28287 | 27721.26
31 | 2016-07-01 | 29308 | 27383 | 28635 | 28062.3
32 | 2016-08-01 | 29056 | 28329 | 29122 | 28539.56
33 | 2016-09-01 | 30209 | 29892 | 29021 | 28440.58
34 | 2016-10-01 | 24756 | 22233 | 22700 | 22246
35 | 2016-11-01 | 24856 | 23479 | 23901 | 23422.98
36 | 2016-12-01 | 17550 | 17629 | 16023 | 15702.54
37 | 2017-01-01 | 17550 | 17629 | 16023 | 15702.54 | 425386.64
38 | 2017-02-01 | 32015 | 33061 | 31468 | 30838.64
39 | 2017-03-01 | 38370 | 38412 | 39542 | 38751.16
40 | 2017-04-01 | 39143 | 41164 | 40303 | 39496.94
41 | 2017-05-01 | 41159 | 42444 | 41128 | 40305.44
42 | 2017-06-01 | 31152 | 30398 | 30653 | 30039.94
43 | 2017-07-01 | 42704 | 41200 | 42521 | 41670.58
44 | 2017-08-01 | 40136 | 39644 | 39123 | 38340.54
45 | 2017-09-01 | 43478 | 42559 | 42619 | 41766.62
46 | 2017-10-01 | 34870 | 34831 | 35358 | 34650.84
47 | 2017-11-01 | 34870 | 34831 | 35358 | 34650.84
48 | 2017-12-01 | 40139 | 40716 | 39972 | 39172.56
49 | 2018-01-01 | 33801 | 33009 | 33624 | 32951.52 | 455678.44
50 | 2018-02-01 | 31029 | 30982 | 31274 | 30648.52
51 | 2018-03-01 | 42426 | 41571 | 41677 | 40843.46
52 | 2018-04-01 | 44101 | 43155 | 42876 | 42018.48
53 | 2018-05-01 | 42327 | 41962 | 41965 | 41125.7
54 | 2018-06-01 | 39273 | 38404 | 38319 | 37552.62
55 | 2018-07-01 | 41999 | 40974 | 41240 | 40415.2
56 | 2018-08-01 | 37398 | 36245 | 36278 | 35552.44
57 | 2018-09-01 | 41728 | 40538 | 40761 | 39945.78
58 | 2018-10-01 | 43010 | 41948 | 42110 | 41267.8
59 | 2018-11-01 | 31549 | 30416 | 30828 | 30211.44
60 | 2018-12-01 | 44744 | 43600 | 44026 | 43145.48
61 | 2019-01-01 | 37771 | 37086 | 37050 | 36309 | 506962.82
62 | 2019-02-01 | 38015 | 37361 | 37107 | 36364.86
63 | 2019-03-01 | 42336 | 41364 | 41904 | 41065.92
64 | 2019-04-01 | 39373 | 38532 | 38669 | 37895.62
65 | 2019-05-01 | 43067 | 41979 | 42188 | 41344.24
66 | 2019-06-01 | 39424 | 38717 | 38735 | 37960.3
67 | 2019-07-01 | 52326 | 51665 | 51334 | 50307.32
68 | 2019-08-01 | 49101 | 47909 | 48633 | 47660.34
69 | 2019-09-01 | 50390 | 50002 | 50058 | 49056.84
70 | 2019-10-01 | 39611 | 38638 | 37225 | 36480.5
71 | 2019-11-01 | 47364 | 46634 | 47077 | 46135.46
72 | 2019-12-01 | 47862 | 47603 | 47329 | 46382.42
73 | 2020-01-01 | 40517 | 39937 | 40209 | 39404.82 | 400637.5603
74 | 2020-02-01 | 36339 | 35082 | 35789 | 35073.22
75 | 2020-03-01 | 29289.76 | 28781.255 | 29069.459 | 28488.0698
76 | 2020-04-01 | 0 | 0 | 0 | 0
77 | 2020-05-01 | 14900.51 | 16036.814 | 12180.894 | 11937.2761
78 | 2020-06-01 | 33053.48 | 31897.493 | 32429.079 | 31780.4974
79 | 2020-07-01 | 43421.04 | 43832.883 | 43143.86 | 42280.9828
80 | 2020-08-01 | 37754.05 | 37077.335 | 37572.836 | 36821.3793
81 | 2020-09-01 | 43972.51 | 44185.095 | 43803.955 | 42927.8759
82 | 2020-10-01 | 47296.47 | 47098.872 | 47016.209 | 46075.8848
83 | 2020-11-01 | 36754.18 | 36745.263 | 36639.12 | 35906.3376
84 | 2020-12-01 | 51052.39 | 51034.959 | 50960.425 | 49941.2165
85 | 2021-01-01 | 39079.809 | 39079.41 | 39008.152 | 38227.989 | 495842.3435
86 | 2021-02-01 | 47209.309 | 47307.58 | 47154.077 | 46210.9955
87 | 2021-03-01 | 52113.953 | 52150.89 | 51976.346 | 50936.8191
88 | 2021-04-01 | 46053 | 46041 | 45747 | 44832.06
89 | 2021-05-01 | 0 | 0 | 0 | 0
90 | 2021-06-01 | 21351 | 21387 | 21094 | 20672.12
91 | 2021-07-01 | 50693 | 50700 | 50507 | 49496.86
92 | 2021-08-01 | 53783 | 53809 | 53546 | 52475.08
93 | 2021-09-01 | 50085 | 50094 | 49698 | 48704.04
94 | 2021-10-01 | 46388 | 52493 | 52644 | 51591.12
95 | 2021-11-01 | 40127 | 40197 | 40084 | 39282.32
96 | 2021-12-01 | 54707 | 54673 | 54503 | 53412.94
97 | 2022-01-01 | 42769 | 42722 | 42649 | 41796.02 | 481351.794
98 | 2022-02-01 | 44652 | 44679 | 44625 | 43732.5
99 | 2022-03-01 | 48577 | 48631 | 48519 | 47548.62
100 | 2022-04-01 | 44721 | 44744 | 44627 | 43734.46
101 | 2022-05-01 | 40973 | 40957 | 40849 | 40032.02
102 | 2022-06-01 | 44591 | 44621 | 44498 | 43608.04
103 | 2022-07-01 | 38489 | 38588 | 38465 | 37695.7
104 | 2022-08-01 | 46705 | 46749 | 46698 | 45764.04
105 | 2022-09-01 | 44331 | 44281 | 44238 | 43353.24
106 | 2022-10-01 | 23735 | 23652 | 23282 | 22816.36
107 | 2022-11-01 | 34649 | 34684 | 34621 | 33928.58
108 | 2022-12-01 | 38217 | 38188.3 | 38104.3 | 37342.214
109 | 2023-01-01 | 25742 | 25762 | 25705 | 25190.9 | 539776.4834
110 | 2023-02-01 | 33917 | 33949 | 33847 | 33170.06
111 | 2023-03-01 | 48370 | 48348.33 | 48202.33 | 47238.2834
112 | 2023-04-01 | 44719 | 44765 | 44673 | 43779.54
113 | 2023-05-01 | 44699 | 44714 | 44624 | 43731.52
114 | 2023-06-01 | 39260 | 39278 | 39189 | 38405.22
115 | 2023-07-01 | 40008 | 40040 | 39923 | 39124.54
116 | 2023-08-01 | 46571 | 46553 | 46434 | 45505.32
117 | 2023-09-01 | 55832 | 55862 | 55743 | 54628.14
118 | 2023-10-01 | 59783 | 59824 | 59762 | 58566.76
119 | 2023-11-01 | 49556 | 49565 | 49480 | 48490.4
120 | 2023-12-01 | 63357 | 63338 | 63210 | 61945.8
121 | 2024-01-01 | 48544 | 48484 | 48448 | 47479.04 | 724032.82
122 | 2024-02-01 | 55999 | 56036 | 56049 | 54928.02
123 | 2024-03-01 | 68113 | 68078 | 68130 | 66767.4
124 | 2024-04-01 | 60325 | 60314 | 60298 | 59092.04
125 | 2024-05-01 | 67211 | 67162 | 67185 | 65841.3
126 | 2024-06-01 | 63030 | 63116 | 63037 | 61776.26
127 | 2024-07-01 | 65375 | 65454 | 64906 | 63607.88
128 | 2024-08-01 | 60289 | 60236 | 60237 | 59032.26
129 | 2024-09-01 | 65527 | 65507 | 65445 | 64136.1
130 | 2024-10-01 | 60409 | 60387 | 60460 | 59250.8
131 | 2024-11-01 | 58213 | 58190 | 58206 | 57041.88
132 | 2024-12-01 | 66506 | 66420 | 66408 | 65079.84
| TOTAL | 4944624.231 | 4916579.679 | 4909093.365 | 4810911.4977 | 4810911.4977
Note on C3: IETP: PRINTING RO + PROCESS INLET
Note on D3: IETP: ETP FEED (WITHOUT BACKWASH)
Note on E3: IETP: RO PERM + MEE COND

## Year Wise
Year | Total ROUs
(1000 liters)/yr
UCR Cap (1 million RoUs/yr
2014 | 202449.6965
2015 | 276828.44
2016 | 301964.46
2017 | 425386.64
2018 | 455678.44
2019 | 506962.82
2020 | 400637.5603
2021 | 495842.3435
2022 | 481351.794
2023 | 539776.4834
2024 | 724032.82
Total RoUs | 4810911.4977